## Laboratory
Laboratory exposure of spider webs to H. fraxineus |  |  |  | qPCR assay
|  |  |  | FQ |  |  |  | Hfrax
Sample group | Spider web type | Dilution | Sample code | Cq Mean | Cq SD | No P. | Cq diff between dilutions* | Cq Mean | Cq SD | No P. | Cq diff between dilutions*
Experimental | Orb | 0x | EG-ORB | 18.0574 | 0.13882 | 3 | 3.0685 | 30.9728 | 0.16901 | 3 | 3.8682
Experimental | Orb | 3x | EG-ORB 3x | 19.6278 | 0.13231 | 3 | 1.5704 | 32.4464 | 0.17952 | 3 | 1.4736
Experimental | Orb | 10x | EG-ORB 10x | 21.1259 | 0.067003 | 3 | 1.4981 | 34.841 | 1.0826 | 3 | 2.3946
Experimental | Sheet | 0x | EG-SHEET | 28.9533 | 0.037728 | 3 | 2.994 | 36.6148 | 0.2008 | 2 | 0.089857
Experimental | Sheet | 3x | EG-SHEET 3x | 30.1324 | 0.16354 | 3 | 1.1791 | neg | / | 0 | /
Experimental | Sheet | 10x | EG-SHEET 10x | 31.9473 | 0.061133 | 3 | 1.8149 | 36.7047 | / | 1 | /
Positive control | Orb | 0x | PC-ORB | 26.4391 | 0.2947 | 3 | 3.4706 | 16.9538 | 0.084103 | 3 | 3.3035
Positive control | Orb | 3x | PC-ORB 3x | 27.9467 | 0.03667 | 3 | 1.5076 | 18.5494 | 0.059731 | 3 | 1.5955
Positive control | Orb | 10x | PC-ORB 10x | 29.9097 | 0.14116 | 3 | 1.963 | 20.2574 | 0.053699 | 3 | 1.708
Positive control | Sheet | 0x | PC-SHEET | 31.9499 | 0.21067 | 3 | 3.1946 | 20.4335 | 0.027423 | 3 | 3.2376
Positive control | Sheet | 3x | PC-SHEET 3x | 33.4547 | 0.47989 | 3 | 1.5048 | 21.9281 | 0.058685 | 3 | 1.4946
Positive control | Sheet | 10x | PC-SHEET 10x | 35.1445 | 0.23931 | 3 | 1.6897 | 23.6711 | 0.078667 | 3 | 1.743
Negative control | Orb | 0x | NC-ORB | 28.3238 | 0.13101 | 3 | 3.6432 | neg | / | 0 | /
Negative control | Orb | 3x | NC-ORB 3x | 30.0894 | 0.14027 | 3 | 1.7656 | neg | / | 0 | /
Negative control | Orb | 10x | NC-ORB 10x | 31.967 | 0.091566 | 3 | 1.8776 | neg | / | 0 | /
Negative control | Sheet | 0x | NC-SHEET | 38.0617 | / | 1 | -0.88905 | neg | / | 0 | /
Negative control | Sheet | 3x | NC-SHEET 3x | neg | / | 0 | / | neg | / | 0 | /
Negative control | Sheet | 10x | NC-SHEET 10x | 37.1727 | / | 1 | / | neg | / | 0 | /
Mean Cq values and its standard deviation (SD) and number of positive replicates (No P.), out of three tested, are shown. Neg - no aplification, negative result.
*For each individual sample, difference between different dilluions is calculated: between undiluted and 10x diluted sample (first row), between 0x and 3x diluted (second row) and between 3x and 10x diluted (third row) sample. Expected difference between 3-fold dilutions is approximately 1.6, and between 10-fold dilutions 3.3 (if 100% emplification efficiency is anticipated).
Device | Treshold FQ | Treshold Hfrax
ABI HT Fast | 10 | 0.05

## Assay evaluation
Assay evaluation
Assay evaluation was done by testing dilution a series of DNA extracted from H. fraxineus aphotecium diluted in water. Each dilution point was tested in five replicates with Hfrax and FQ assays. Mean Cq and standard deviation (StDev) is calculated. Slope, intercept and efficiency (%) of amplification were calculated for each assay. In sample CF100 (calibrator) we determined absolute number of copies by ddPCR and tested it with qPCR, and served for calibration of dilution curve.
H. fraxineus dilution factor | Copies/reaction | log (copies/reaction) | Hfrax |  |  | FQ |  |  | Assay | slope | intercept | Efficiency (%)
|  |  | Cq | Cq Mean | Cq StdDev | Cq | Cq Mean | Cq StdDev | Hfrax | -3.4429 | 35.4241 | 0.95189 | 4.1859
1 | 251323.6347 | 5.4002 | 16.9394 | 17.0097 | 0.076548 | 26.8404 | 26.8743 | 0.16262 | FQ | -3.3708 | 45.0227 | 0.97999
|  |  | 16.9501 |  |  | 26.7363
|  |  | 17.0996 |  |  | 26.676 |  |  | calibrator Cq (sample CF100) | 26.2713
|  |  | 17.1068 |  |  | 27.1046 |  |  | calibrator No. copies/reaction (2 ul), determined with ddPCR | 513
|  |  | 16.9524 |  |  | 27.0144 |  |  | corrected intercept | 35.6019
10 | 25132.3635 | 4.4002 | 20.2652 | 20.2958 | 0.016582 | 29.7639 | 30.0644 | 0.31109 | no. copies in undiluted sample (Cq 17.01) | 251323.6347
|  |  | 20.3008 |  |  | 30.2478
|  |  | 20.3003 |  |  | 29.6346
|  |  | 20.3155 |  |  | 30.2244
|  |  | 20.297 |  |  | 30.4512
100 | 2513.2363 | 3.4002 | 23.4421 | 23.6867 | 0.14012 | 33.1543 | 33.6484 | 0.38316
|  |  | 23.8686 |  |  | 33.3313
|  |  | 23.7418 |  |  | 34.0321
|  |  | 23.6577 |  |  | 34.1367
|  |  | 23.7235 |  |  | 33.5874
1000 | 251.3236 | 2.4002 | 26.7781 | 26.9029 | 0.17898 | 37.6395 | 36.9157 | 0.69824
|  |  | 27.0554 |  |  | 37.0535
|  |  | 26.8191 |  |  | 41.4755 | - ignored, outlier
|  |  | 26.6935 |  |  | 37.2047
|  |  | 27.1683 |  |  | 35.7652
10000 | 25.1324 | 1.4002 | 29.8923 | 30.2376 | 0.25343 | Undetermined | 39.3485 | 0.50901
|  |  | 30.1728 |  |  | 38.7384
|  |  | 30.0684 |  |  | 39.9844
|  |  | 30.5522 |  |  | Undetermined
|  |  | 30.5024 |  |  | 39.3228
100000 | 2.5132 | 0.40023 | 34.3736 | 34.5013 | 0.72755 | 37.1516 | 37.1516 | 0
|  |  | 33.7253 |  |  | Undetermined
|  |  | 33.7247 |  |  | Undetermined
|  |  | 35.261 |  |  | Undetermined
|  |  | 35.4221 |  |  | Undetermined
1000000 | 0.25132 | -0.59977 | 34.3168 | 35.0587 | 0.53755 | Undetermined | 40.3112 | 2.8823
|  |  | 35.2862 |  |  | 37.4289
|  |  | 35.5732 |  |  | Undetermined
|  |  | Undetermined |  |  | Undetermined
|  |  | Undetermined |  |  | 43.1935
10000000 | 0.025132 | -1.5998 | Undetermined | / | / | 39.7507 | 39.7507 | 0
|  |  | Undetermined |  |  | Undetermined
|  |  | Undetermined |  |  | Undetermined
|  |  | Undetermined |  |  | Undetermined
|  |  | Undetermined |  |  | Undetermined
100000000 | 0.0025132 | -2.5998 | n.t. | / | / | 40.1999 | 39.0218 | 0.90487
|  |  | n.t. |  |  | Undetermined
|  |  | n.t. |  |  | 38.0001
|  |  | n.t. |  |  | Undetermined
|  |  | n.t. |  |  | 38.8654
1000000000 | 0.00025132 | -3.5998 | n.t. | / | / | Undetermined | 38.8821 | 0.36293
|  |  | n.t. |  |  | Undetermined
|  |  | n.t. |  |  | Undetermined
|  |  | n.t. |  |  | 39.2451
|  |  | n.t. |  |  | 38.5192
Device | Treshold FQ | Treshold Hfrax
ABI HT Fast | 10 | 0.05

## PassiveSamplerEva
Comparative analysis of passive samplers |  |  |  |  | qPCR assay
[5 empty] | FQ |  |  |  | H.frax
Date of sampling | Sample | Exposure time | Dilution | Sample code | Cq Mean | Cq StdDev | No P. | Cq diff between dilutions* | CtMean | CtStDev | NoP | Cq diff between dilutions*
2023-06-15 | Orb web | 1 day | 0x | W2 | 20.6737 | 0.44233 | 3 | 4.0209 | 31.5391 | 0.62604 | 3 | 4.1327
|  |  | 3x | W2 3x | 22.4641 | 0.062344 | 3 | 2.9236 | 33.717 | 1.1253 | 3 | /
|  |  | 10x | W2 10x | 24.6946 | 0.27283 | 3 | 1.7904 | 35.6717 | 0.7737 | 3 | 2.1779
|  |  | 100x | W2 100x | 27.6181 | 0.17284 | 3 | 2.2305 | neg | / | 0 | 1.9547
2023-06-15 | Orb web | 1 day | 0x | W3 | 20.6829 | 0.36414 | 3 | 3.1122 | 33.4167 | 0.45435 | 3 | 3.2091
|  |  | 3x | W3 3x | 22.2141 | 0.045179 | 3 | 3.5711 | 35.385 | 0.20191 | 2 | /
|  |  | 10x | W3 10x | 23.7951 | 0.39519 | 3 | 1.5313 | 36.6259 | / | 1 | 1.9682
|  |  | 100x | W3 100x | 27.3662 | 0.21301 | 3 | 1.581 | neg | / | 0 | 1.2409
2023-06-15 | Microscope slide | 1 day | 0x | G2 | 28.4028 | 0.14982 | 3 | 3.1275 | neg | / | 0 | /
|  |  | 3x | G2 3x | 30.3124 | 0.16172 | 3 | 3.1768 | neg | / | 0 | /
|  |  | 10x | G2 10x | 31.5303 | 0.12193 | 3 | 1.9096 | neg | / | 0 | /
|  |  | 100x | G2 100x | 34.7071 | 0.076153 | 3 | 1.2179 | neg | / | 0 | /
2023-06-15 | Filter paper | 1 day | 0x | F2 | 26.1214 | 0.22625 | 3 | 3.1539 | 31.9282 | 0.34719 | 3 | 3.5359
|  |  | 3x | F2 3x | 27.6886 | 0.13339 | 3 | 3.4927 | 33.4829 | 0.49553 | 3 | /
|  |  | 10x | F2 10x | 29.2753 | 0.25923 | 3 | 1.5673 | 35.4641 | 0.055911 | 2 | 1.5547
|  |  | 100x | F2 100x | 32.768 | 0.14846 | 3 | 1.5866 | neg | / | 0 | 1.9812
2023-06-15 | Petri dish | 1 day | 0x | P2 | 21.9504 | 0.16228 | 3 | 3.6069 | 31.9699 | 0.57887 | 3 | 1.949
|  |  | 3x | P2 3x | 23.805 | 0.14427 | 3 | 3.4537 | 33.1587 | 1.2844 | 3 | /
|  |  | 10x | P2 10x | 25.5572 | 0.55322 | 3 | 1.8547 | 33.9189 | / | 1 | 1.1888
|  |  | 100x | P2 100x | 29.0109 | 0.34396 | 3 | 1.7522 | neg | / | 0 | 0.76017
2023-06-22 | Sheet web | 1 week | 0x | W1 | 20.0671 | 0.076149 | 3 | 3.0346 | 28.7235 | 0.16109 | 3 | 3.7223
|  |  | 3x | W1 3x | 21.1696 | 0.064378 | 3 | 3.5903 | 30.8051 | 0.32606 | 3 | 2.836
|  |  | 10x | W1 10x | 23.1017 | 0.15968 | 3 | 1.1026 | 32.4458 | 0.52047 | 3 | 2.0816
|  |  | 100x | W1 100x | 26.692 | 0.16534 | 3 | 1.9321 | 35.2819 | / | 1 | 1.6407
2023-06-22 | Microscope slide | 1 week | 0x | G1 | 26.9074 | 0.45081 | 3 | 3.6186 | neg | / | 0 | /
|  |  | 3x | G1 3x | 28.6699 | 0.20727 | 3 | 3.1857 | neg | / | 0 | /
|  |  | 10x | G1 10x | 30.526 | 0.10262 | 3 | 1.7625 | neg | / | 0 | /
|  |  | 100x | G1 100x | 33.7116 | 0.58442 | 3 | 1.8561 | neg | / | 0 | /
2023-06-22 | Filter paper | 1 week | 0x | F1 | 21.6509 | 0.28971 | 3 | 3.9006 | 28.3876 | 0.040333 | 3 | 3.5023
|  |  | 3x | F1 3x | 23.1497 | 0.17398 | 3 | 2.7967 | 30.0425 | 0.36014 | 3 | 3.7804
|  |  | 10x | F1 10x | 25.5515 | 0.2714 | 3 | 1.4988 | 31.8899 | 0.24682 | 3 | 1.6549
|  |  | 100x | F1 100x | 28.3482 | 0.30085 | 3 | 2.4018 | 35.6703 | 0.41367 | 3 | 1.8474
2023-06-22 | Petri dish | 1 week | 0x | P1 | 19.3761 | 0.28557 | 3 | 3.6632 | 30.3226 | 0.18966 | 3 | 7.9289
|  |  | 3x | P1 3x | 20.8076 | 0.063516 | 3 | 3.1596 | 31.8766 | 0.67241 | 3 | -2.1414
|  |  | 10x | P1 10x | 23.0394 | 0.29392 | 3 | 1.4314 | 38.2516 | / | 1 | 1.554
|  |  | 100x | P1 100x | 26.199 | 0.3573 | 3 | 2.2318 | 36.1102 | 0.12341 | 2 | 6.375
Mean Cq values and its standard deviation (SD) and number of positive replicates (No P.), out of three tested, are shown. Neg - no aplification, negative result.
*For each sample, difference between different dilutions is calculated: between undiluted and 10x diluted sample (first row), between 10x and 100x diluted (second row), between 0x and 3x (third row) and 3x and 10x diluted (fouth row) sample. Expected difference between 3-fold dilutions is approximately 1.6, and between 10-fold dilutions 3.3 (if 100% emplification efficiency is anticipated).
Device | Treshold FQ | Treshold Hfrax
ABI HT Fast | 10 | 0.05

## Field Experiment
Field experiment |  |  |  |  | qPCR assay
[5 empty] | FQ |  |  |  | Hfrax
Date of sampling | Sample (no of webs collected) | Exposure time | Dilution | Sample code | Cq Mean | Cq SD | No P. | Cq diff between dilutions* | Cq Mean | Cq SD | No P. | Cq diff between dilutions*
2023-09-08 | Filter paper | 1 day | 0x | 1P230908 | 21.5153 | 0.28363 | 3 | 3.1667 | 35.7611 | / | 1 | /
|  |  | 3x | 1P230908 3x | 23.0954 | 0.19127 | 3 | 3.2001 | neg | / | 0 | /
|  |  | 10x | 1P230908 10x | 24.682 | 0.17007 | 3 | 1.5801 | neg | / | 0 | /
|  |  | 100x | 1P230908 100x | 27.8821 | 0.30216 | 3 | 1.5866 | neg | / | 0 | /
2023-09-08 | Orb web (21) | 1 day | 0x | OW230908 | 18.3463 | 0.080543 | 3 | 3.1865 | 33.4518 | 0.90163 | 3 | 1.7844
|  |  | 3x | OW230908 3x | 19.6718 | 0.21476 | 3 | 3.1746 | 35.7634 | 0.4166 | 2 | /
|  |  | 10x | OW230908 10x | 21.5328 | 0.089399 | 3 | 1.3255 | 35.2362 | / | 1 | 2.3116
|  |  | 100x | OW230908 100x | 24.7074 | 0.033375 | 3 | 1.861 | neg | / | 0 | -0.52719
2023-09-29 | Filter paper | 1 day | 0x | 1P230929 | 22.8109 | 0.071767 | 3 | 3.557 | neg | / | 0 | /
|  |  | 3x | 1P230929 3x | 24.7753 | 0.35599 | 3 | 3.2359 | neg | / | 0 | /
|  |  | 10x | 1P230929 10x | 26.3679 | 0.079442 | 3 | 1.9644 | neg | / | 0 | /
|  |  | 100x | 1P230929 100x | 29.6038 | 0.26502 | 3 | 1.5926 | neg | / | 0 | /
2023-09-29 | Orb web (46) | 1 day | 0x | OW230929 | 15.8052 | 0.089887 | 3 | 3.4277 | 32.7355 | 0.58363 | 3 | 1.5307
|  |  | 3x | OW230929 3x | 17.3018 | 0.34117 | 3 | 3.0272 | 33.451 | / | 1 | /
|  |  | 10x | OW230929 10x | 19.2329 | 0.29647 | 3 | 1.4966 | 34.2662 | / | 1 | 0.71545
|  |  | 100x | OW230929 100x | 22.2602 | 0.26704 | 3 | 1.9311 | neg | / | 0 | 0.81526
2024-07-05 | Filter paper | 1 day | 0x | 1P240705 | 25.1328 | 0.036434 | 3 | 1.8216 | 33.3993 | 0.46638 | 3 | 1.2256
|  |  | 3x | 1P240705 3x | 26.9544 | 0.056329 | 3 |  | 34.6249 | 0.39722 | 3
2024-07-05 | Orb web (21) | 1 day | 0x | OW240705 | 14.8334 | 0.11745 | 3 | 1.6373 | 28.6851 | 0.049613 | 3 | 1.4547
|  |  | 3x | OW240705 3x | 16.4707 | 0.073445 | 3 |  | 30.1398 | 0.19767 | 3
2024-08-01 | Filter paper | 1 day | 0x | 1P240801 | 24.2971 | 0.052506 | 3 | 1.7774 | 36.461 | 0.39842 | 3 | 0.78282
|  |  | 3x | 1P240801 3x | 26.0744 | 0.022092 | 3 |  | 37.2438 | / | 1
2024-08-01 | Orb web (14) | 1 day | 0x | OW240801 | 19.5174 | 0.010238 | 3 | 1.6166 | 31.4158 | 0.15846 | 3 | 1.6394
|  |  | 3x | OW240801 3x | 21.134 | 0.095079 | 3 |  | 33.0553 | 0.20398 | 3
2024-08-14 | Filter paper | 1 day | 0x | 1P240814 | 23.3432 | 0.03693 | 3 | 1.5955 | neg | / | 0 | /
|  |  | 3x | 1P240814 3x | 24.9387 | 0.071538 | 3 |  | neg | / | 0
2024-08-14 | Orb web (19) | 1 day | 0x | OW240814 | 15.1918 | 0.038193 | 3 | 1.6674 | 32.9945 | 0.36612 | 3 | 2.1359
|  |  | 3x | OW240814 3x | 16.8592 | 0.14542 | 3 |  | 35.1304 | 0.43459 | 3
2024-08-23 | Filter paper | 1 day | 0x | 1P240823 | 24.645 | 0.0067207 | 3 | 1.3391 | 36.0307 | 1.0889 | 3 | 0.28723
|  |  | 3x | 1P240823 3x | 25.9841 | 0.048291 | 3 |  | 36.3179 | 0.61075 | 2
2024-08-23 | Orb web (22) | 1 day | 0x | OW240823 | 13.8888 | 0.044556 | 3 | 1.1278 | 31.0274 | 0.12448 | 3 | 1.2079
|  |  | 3x | OW240823 3x | 15.0166 | 0.063513 | 3 |  | 32.2353 | 0.25792 | 3
2023-09-13 | Filter paper | 1 week | 0x | 6P230913 | 19.1678 | 0.10535 | 3 | 4.0522 | 34.1844 | 0.28749 | 3 | /
|  |  | 3x | 6P230913 3x | 20.8367 | 0.12458 | 3 | 3.0351 | 35.3362 | 0.088662 | 2 | /
|  |  | 10x | 6P230913 10x | 23.2199 | 0.10105 | 3 | 1.6689 | neg | / | 0 | 1.1518
|  |  | 100x | 6P230913 100x | 26.2551 | 0.15304 | 3 | 2.3832 | neg | / | 0 | /
2023-09-13 | Sheet web (53) | 1 week | 0x | SW230913 | 23.3743 | 1.2576 | 3 | -5.0339 | 31.0231 | 0.51559 | 3 | 0.11722
|  |  | 3x | SW230913 3x | 16.2776 | 0.089938 | 3 | 2.5764 | 29.6471 | 0.22569 | 3 | 3.5
|  |  | 10x | SW230913 10x | 18.3404 | 0.067506 | 3 | -7.0967 | 31.1404 | 0.1763 | 3 | -1.3761
|  |  | 100x | SW230913 100x | 20.9168 | 0.17747 | 3 | 2.0628 | 34.6403 | 1.1039 | 3 | 1.4933
2023-10-04 | Filter paper | 1 week | 0x | 6P231004 | 18.2122 | 0.25055 | 3 | 3.7031 | neg | / | 0 | /
|  |  | 3x | 6P231004 3x | 19.5569 | 0.074774 | 3 | 3.3933 | 35.1473 | / | 1 | /
|  |  | 10x | 6P231004 10x | 21.9153 | 0.17082 | 3 | 1.3448 | neg | / | 0 | /
|  |  | 100x | 6P231004 100x | 25.3086 | 0.26447 | 3 | 2.3583 | neg | / | 0 | /
2023-10-04 | Sheet web (37) | 1 week | 0x | SW231004 | 14.9918 | 0.64863 | 3 | 1.0457 | 31.5417 | 0.12004 | 3 | 1.9206
|  |  | 3x | SW231004 3x | 14.1523 | 0.34428 | 3 | 2.8333 | 32.0799 | 0.17299 | 3 | 4.7124
|  |  | 10x | SW231004 10x | 16.0375 | 0.27166 | 3 | -0.83951 | 33.4623 | 0.13586 | 3 | 0.53826
|  |  | 100x | SW231004 100x | 18.8708 | 0.083672 | 3 | 1.8852 | 38.1747 | / | 1 | 1.3824
2024-07-11 | Filter paper | 1 week | 0x | 7P240711 | 21.0765 | 0.067239 | 3 | 1.7482 | 30.2621 | 0.17252 | 3 | 1.6345
|  |  | 3x | 7P240711 3x | 22.8246 | 0.053037 | 3 |  | 31.8966 | 0.16367 | 3
2024-07-11 | Sheet web (64) | 1 week | 0x | SW240711 | 20.5292 | 2.4089 | 3 | -5.8629 | 28.3393 | 0.13888 | 3 | -0.26025
|  |  | 3x | SW240711 3x | 14.6663 | 0.063947 | 3 |  | 28.079 | 0.053492 | 3
2024-08-07 | Filter paper | 1 week | 0x | 7P240807 | 17.3217 | 0.016331 | 3 | 1.6639 | 33.9762 | 0.84996 | 3 | 0.84028
|  |  | 3x | 7P240807 3x | 18.9857 | 0.039467 | 3 |  | 34.8165 | 0.50354 | 3
2024-08-07 | Sheet web (51) | 1 week | 0x | SW240807 | 12.0726 | 0.084983 | 3 | 1.5085 | 26.3585 | 0.048103 | 3 | 1.5091
|  |  | 3x | SW240807 3x | 13.5811 | 0.080217 | 3 |  | 27.8676 | 0.0061642 | 3
2024-08-22 | Filter paper | 1 week | 0x | 7P240822a | 14.5197 | 0.12195 | 3 | 1.7521 | 32.6234 | 0.38199 | 3 | 0.97398
|  |  | 3x | 7P240822a 3x | 16.2718 | 0.036545 | 3 |  | 33.5974 | 0.051425 | 3
2024-08-22 | Sheet web (21) | 1 week | 0x | SW240822 | 11.9138 | 0.075869 | 3 | 1.7458 | 27.643 | 0.014361 | 3 | 1.6024
|  |  | 3x | SW240822 3x | 13.6596 | 0.036071 | 3 |  | 29.2454 | 0.033753 | 3
2024-08-28 | Filter paper | 1 week | 0x | 7P240828 | 21.2666 | 0.079548 | 3 | 1.7142 | 33.7066 | 0.33923 | 3 | 1.6413
|  |  | 3x | 7P240828 3x | 22.9808 | 0.038071 | 3 |  | 35.3479 | 0.30838 | 3
2024-08-28 | Sheet web (71) | 1 week | 0x | SW240828 | 19.7462 | 0.69496 | 3 | -3.5376 | 33.3113 | 0.2969 | 3 | -1.9844
|  |  | 3x | SW240828 3x | 16.2086 | 0.052537 | 3 |  | 31.327 | 0.20792 | 3
Mean Cq values and its standard deviation (SD) and number of positive replicates (No P.), out of three tested, are shown. Neg - no aplification, negative result.
*For each sample, difference between different dilutions is calculated: between undiluted and 10x diluted sample (first row), between 10x and 100x diluted (second row), between 0x and 3x (third row) and 3x and 10x diluted (fouth row) sample. A set of samples was tested only undiluted and 3x diluted. Expected difference between 3-fold dilutions is approximately 1.6, and between 10-fold dilutions 3.3 (if 100% emplification efficiency is anticipated).
Device | Treshold FQ | Treshold Hfrax | Samples
ABI HT Fast | 10 | 0.05 | Samples tested in 2023
VIAA 7 | 0.168 | 0.16 | Samples tested in 2024

## Controls
Controls used in each experiment: NKI - negative control of extraction was used to control each DNA extraction for possible contamination of samples, PK - positive control of amplification in qPCR, NTC - non-template control, negative control of qPCR reaction mix.
Experiment: | Laboratory exposure of spider webs to H. fraxineus
| FQ |  |  | Hfrax
Control | Cq Mean | Cq SD | No P. | Cq Mean | Cq SD | No P.
PK | 26.4391 | 0.2947 | 3 | 26.6245 | 0.037639 | 3
NKI 1 | 30.9616 | 0.02123 | 3 | neg | / | 0
NKI 2 | 37.0414 | 0.20317 | 3 | neg | / | 0
NTC1 | neg | / | 0 | neg | / | 0
NTC2 | neg | / | 0 | neg | / | 0
Experiment: | Comparative analysis of passive samplers
| FQ |  |  | Hfrax
Control | Cq Mean | Cq SD | No P. | Cq Mean | Cq SD | No P.
PK | 28.2147 | 0.33647 | 3 | 27.6967 | 0.029322 | 3
NKI | 36.9545 | 1.0924 | 3 | neg | / | 0
NTC1 | neg | / | 0 | neg | / | 0
NTC 2 | neg | / | 0 | neg | / | 0
Experiment: | Field experiment in 2023
| FQ |  |  | Hfrax
Control | Cq Mean | Cq SD | No P. | Cq Mean | Cq SD | No P.
PK | 28.3295 | 0.20065 | 3 | 27.3988 | 0.054267 | 3
NKI | neg | / | 0 | neg | / | 0
NTC1 | neg | / | 0 | neg | / | 0
NTC2 | neg | / | 0 | neg | / | 0
Experiment: | Field experiment in 2024
| FQ |  |  | Hfrax
Control | Cq Mean | Cq SD | No P. | Cq Mean | Cq SD | No P.
PK1 | 25.8648 | 0.043474 | 3 | 28.3112 | 0.07983 | 3
NKI P | 34.4123 | 0.29507 | 3 | neg | / | 0
NKI W | 35.3551 | 1.2518 | 3 | neg | / | 0
NTC1 | 38.0929 | / | 1 | neg | / | 0
NTC2 | neg | / | 0 | neg | / | 0
Experiment: | Negative controls of field experiment
|  |  |  | FQ |  |  |  | Hfrax
Sample | Spider web type | Dilution | Sample code | Cq Mean | Cq SD | No P. | Cq diff between dilutions* | Cq Mean | Cq SD | No P. | Cq diff between dilutions*
Web control 01 | Orb | 0x | H.frax web C1 | 30.2789 | 0.10349 | 3 | 1.3573 | und | / | 0 | /
Web control 01 | Orb | 3x | H.frax web C1 3x | 31.6362 | 0.46026 | 3 |  | und | / | 0 | /
Web control 02 | Orb | 0x | H.frax WEB C2 | 28.7907 | 0.26055 | 3 | 1.1945 | und | / | 0 | /
Web control 02 | Orb | 3x | H.frax WEB C2 3x | 29.9852 | 0.097561 | 3 |  | und | / | 0 | /
Web control 03 | Sheet | 0x | H.frax WEB C3 | 28.8646 | 0.087733 | 3 | 1.5355 | und | / | 0 | /
Web control 03 | Sheet | 3x | H.frax WEB C3 3x | 30.4 | 0.31823 | 3 |  | und | / | 0 | /
Web control 04 | Sheet | 0x | H.frax WEB C4 | 35.2261 | 0.22055 | 3 | 0.55885 | und | / | 0 | /
Web control 04 | Sheet | 3x | H.frax WEB C4 3x | 35.785 | 0.44866 | 3 |  | und | / | 0 | /
Filter paper | / | 0x | CleanFilter | 35.1621 | 0.51794 | 3 |  | und | / | 0 | /
NKI |  |  |  | 38.3897 | / | 1 |  | und | / | 0
PK |  |  |  | 30.702 | / | 1 |  | 26.4073 | / | 1
Device | Treshold FQ | Treshold Hfrax | Samples
ABI HT Fast | 10 | 0.05 | web controls
VIAA 7 | 0.168 | 0.16 | Field samples tested in 2024

## Weather data
Weather data from meteorological station located 7 km distant from sampling location for sampling periods in 2023 and 2024. Source of data: National Environment Agency.
Sampling period in 2023 |  |  |  |  | Sampling period in 2024
Date | Average daily T [°C] | Average wind speed [m/s] | Average relative humidity [%] | Percipitation [mm] | Date | Average daily T [°C] | Average wind speed [m/s] | Average relative humidity [%] | Percipitation [mm]
2023-06-01 | 18.7 | 0.8 | 72 | 1.4 | 2024-07-01 | 18.6 | 0.6 | 83 | 0
2023-06-02 | 19.2 | 1.1 | 69 | 0 | 2024-07-02 | 19.4 | 0.6 | 71 | 74.2
2023-06-03 | 17.5 | 0.8 | 74 | 33.6 | 2024-07-03 | 18.2 | 0.3 | 69 | 0
2023-06-04 | 16.3 | 1.1 | 83 | 0 | 2024-07-04 | 18.6 | 1.1 | 71 | 0
2023-06-05 | 16.1 | 1.4 | 86 | 7.4 | 2024-07-05 | 21.2 | 0.3 | 69 | 0
2023-06-06 | 17.2 | 0.6 | 86 | 15 | 2024-07-06 | 22.3 | 1.1 | 66 | 0
2023-06-07 | 18.9 | 1.1 | 68 | 26.7 | 2024-07-07 | 21.8 | 0.8 | 75 | 0
2023-06-08 | 17.3 | 0.8 | 78 | 0 | 2024-07-08 | 24.1 | 1.6 | 74 | 4.4
2023-06-09 | 19.3 | 1.1 | 74 | 0.2 | 2024-07-09 | 25.5 | 0.8 | 76 | 0
2023-06-10 | 18 | 0.6 | 81 | 6.2 | 2024-07-10 | 26.2 | 0.8 | 73 | 0
2023-06-11 | 18.4 | 0.6 | 82 | 1.4 | 2024-07-11 | 26.6 | 1.1 | 72 | 0
2023-06-12 | 19.6 | 1.9 | 70 | 1.2 | 2024-07-12 | 24.7 | 0.8 | 79 | 0
2023-06-13 | 17.7 | 1.8 | 69 | 0.2 | 2024-07-13 | 24 | 1.1 | 77 | 7.2
2023-06-14 | 19.5 | 1.4 | 68 | 0 | 2024-07-14 | 24.4 | 0.3 | 68 | 0.1
2023-06-15 | 17.7 | 0.8 | 71 | 0 | 2024-07-15 | 23.9 | 0.3 | 66 | 0
2023-06-16 | 17.2 | 1.1 | 69 | 0.5 | 2024-07-16 | 25.8 | 0.8 | 66 | 0
2023-06-17 | 20.1 | 1.1 | 61 | 0.2 | 2024-07-17 | 25.7 | 1.1 | 70 | 0
2023-06-18 | 21.3 | 1.5 | 58 | 0 | 2024-07-18 | 25 | 1.8 | 68 | 0
2023-06-19 | 23.3 | 1.1 | 60 | 0 | 2024-07-19 | 26.1 | 1.8 | 71 | 0
2023-06-20 | 24.5 | 2.3 | 62 | 0 | 2024-07-20 | 19.9 | 0 | 84 | 23.2
2023-06-21 | 26.2 | 1.1 | 59 | 0 | 2024-07-21 | 23.2 | 0.6 | 76 | 12.7
2023-06-22 | 26.4 | 1.1 | 65 | 0 | 2024-07-22 | 22.8 | 0.3 | 76 | 0
2023-06-23 | 21.3 | 0.3 | 74 | 0 | 2024-07-23 | 22.6 | 1.8 | 74 | 0.1
2023-06-24 | 21 | 1.9 | 65 | 3.2 | 2024-07-24 | 21.7 | 0.9 | 78 | 0
2023-06-25 | 21.3 | 1.8 | 65 | 0 | 2024-07-25 | 21.1 | 0.8 | 70 | 0.1
2023-06-26 | 22.5 | 1.5 | 65 | 0 | 2024-07-26 | 23.1 | 1.4 | 69 | 0
2023-06-27 | 19.1 | 2.3 | 76 | 0 | 2024-07-27 | 24.9 | 0.8 | 69 | 0
2023-06-28 | 17.5 | 2.3 | 73 | 26.6 | 2024-07-28 | 23.9 | 0.6 | 72 | 0
2023-06-29 | 19.5 | 0.6 | 66 | 0.2 | 2024-07-29 | 21.4 | 1.8 | 73 | 11.3
2023-06-30 | 21.4 | 1.8 | 66 | 0 | 2024-07-30 | 21.3 | 1.1 | 69 | 0
2023-07-01 | 20.4 | 0.6 | n.d. | 0 | 2024-07-31 | 23.2 | 0.8 | 69 | 0
2023-07-02 | 21.7 | 0.9 | 73 | 0 | 2024-08-01 | 22.7 | 1.1 | 73 | 0
2023-07-03 | 19.6 | 1.9 | 80 | 4 | 2024-08-02 | 21.7 | 1.9 | 75 | 9.5
2023-07-04 | 20.8 | 1.4 | 74 | 17.4 | 2024-08-03 | 21 | 0.8 | 76 | 17
2023-07-05 | 18.4 | 1.1 | 83 | 0 | 2024-08-04 | 21.4 | 1.1 | 73 | 0
2023-07-06 | 19.7 | 0.3 | 75 | 4.1 | 2024-08-05 | 23.3 | 0.6 | 72 | 0
2023-07-07 | 19.9 | 1.1 | 68 | 1.8 | 2024-08-06 | 21.9 | 1.1 | 69 | 0
2023-07-08 | 22.2 | 0.3 | 68 | 0 | 2024-08-07 | 22.3 | 1.4 | 74 | 0
2023-07-09 | 24.5 | 1.1 | 66 | 0 | 2024-08-08 | 21.8 | 0.8 | 74 | 21.4
2023-07-10 | 25.5 | 0.6 | 66 | 0 | 2024-08-09 | 22.8 | 0.8 | 75 | 7.3
2023-07-11 | 26.4 | 1.1 | 67 | 0 | 2024-08-10 | 24.5 | 1.1 | 71 | 0
2023-07-12 | 24.2 | 1.9 | 70 | 8.4 | 2024-08-11 | 25.4 | 0.8 | 71 | 0
2023-07-13 | 18.5 | 0.6 | 85 | 2.8 | 2024-08-12 | 26.1 | 0.8 | 70 | 0
2023-07-14 | 21 | 0.8 | 75 | 62.8 | 2024-08-13 | 25.6 | 0.8 | 68 | 0
2023-07-15 | 23.9 | 0.8 | 70 | 0 | 2024-08-14 | 23.9 | 1.1 | 72 | 0
2023-07-16 | 26.1 | 0.8 | 69 | 0 | 2024-08-15 | 24.5 | 0.8 | 71 | 0
2023-07-17 | 26.8 | 0.8 | 68 | 0 | 2024-08-16 | 25.8 | 0.8 | 72 | 0
2023-07-18 | 22.7 | 1.6 | 76 | 0 | 2024-08-17 | 21.3 | 0.8 | 79 | 0
2023-07-19 | 19.1 | 2.1 | 82 | 16.3 | 2024-08-18 | 20.6 | 1.5 | 79 | 0.5
2023-07-20 | 23.2 | 1.8 | 71 | 17 | 2024-08-19 | 21.7 | 2.1 | 78 | 8.2
2023-07-21 | 19.4 | 1.1 | 82 | 0 | 2024-08-20 | 22 | 0.8 | 81 | 45.1
2023-07-22 | 18.3 | 0.8 | 80 | 21.2 | 2024-08-21 | 22.3 | 0.8 | 75 | 0
2023-07-23 | 21.4 | 1.1 | 75 | 0.4 | 2024-08-22 | 20.7 | 0.8 | 74 | 0
2023-07-24 | 22.3 | 0.8 | 79 | 0 | 2024-08-23 | 22.7 | 0.3 | 74 | 0
2023-07-25 | 19.7 | 0.6 | 83 | 15.4 | 2024-08-24 | 24 | 0.3 | 72 | 0
2023-07-26 | 16.2 | 2.1 | 84 | 27.3 | 2024-08-25 | 24.4 | 0.8 | 71 | 0
2023-07-27 | 16.7 | 0.6 | 74 | 6.6 | 2024-08-26 | 22.6 | 1.5 | 72 | 0
2023-07-28 | 20.5 | 1.1 | 72 | 0 | 2024-08-27 | 21.6 | 1.1 | 77 | 0
2023-07-29 | 22.6 | 0.8 | 72 | 0 | 2024-08-28 | 22.5 | 0.8 | 75 | 0.4
2023-07-30 | 21.6 | 1.6 | 77 | 37.6 | 2024-08-29 | 23.7 | 0.8 | 73 | 0
2023-07-31 | 21.3 | 1.5 | 75 | 0 | 2024-08-30 | 23.4 | 0.8 | 69 | 0
2023-08-01 | 19.5 | 1.1 | 80 | 0 | 2024-08-31 | 22.9 | 0.8 | 68 | 0
2023-08-02 | 20.9 | 0.6 | 78 | 13.3
2023-08-03 | 23.3 | 2.3 | 79 | 0
2023-08-04 | 16.6 | 0.9 | 85 | 2
2023-08-05 | 15.7 | 0.9 | 87 | 90
2023-08-06 | 13.9 | 1.5 | 85 | 25.6
2023-08-07 | 16.1 | 0.8 | 75 | 5.4
2023-08-08 | 16.5 | 0.6 | 76 | 0
2023-08-09 | 18.3 | 0.6 | 78 | 0
2023-08-10 | 18.4 | 0.8 | 75 | 0.4
2023-08-11 | 19.7 | 1.5 | 74 | 0
2023-08-12 | 20.2 | 1.1 | 74 | 0
2023-08-13 | 22 | 1.1 | 74 | 0
2023-08-14 | 21.2 | 0.8 | 73 | 0
2023-08-15 | 21.9 | 0.8 | 73 | 0
2023-08-16 | 21.6 | 0.8 | 74 | 0
2023-08-17 | 22.7 | 1.1 | 75 | 0.2
2023-08-18 | 23 | 0.8 | 76 | 1.4
2023-08-19 | 23.1 | 0.8 | 74 | 0
2023-08-20 | 23.6 | 1.5 | 74 | 0
2023-08-21 | 24 | 0.8 | 75 | 0
2023-08-22 | 24.5 | 0.3 | 72 | 0
2023-08-23 | 25 | 0.3 | 70 | 0
2023-08-24 | 25.6 | 0.3 | 74 | 0
2023-08-25 | 25.7 | 0.3 | 72 | 0
2023-08-26 | 24.9 | 1.1 | 68 | 0
2023-08-27 | 23.9 | 0.8 | 66 | 0
2023-08-28 | 20.4 | 2.1 | 77 | 0
2023-08-29 | 17.3 | 0.6 | 84 | 27.9
2023-08-30 | 14.7 | 0.9 | 86 | 33.8
2023-08-31 | 17.2 | 0.3 | 77 | 38.8
2023-09-01 | 19.7 | 0.8 | 73 | 1.7
2023-09-02 | 20.5 | 0.3 | 76 | 0
2023-09-03 | 20.2 | 1.1 | 79 | 0
2023-09-04 | 18.4 | 1.4 | 67 | 0
2023-09-05 | 16.4 | 0.3 | 72 | 0
2023-09-06 | 17.6 | 1.5 | 72 | 0
2023-09-07 | 18 | 0.8 | 74 | 0
2023-09-08 | 18.4 | 1.5 | 72 | 0
2023-09-09 | 18.3 | 0.8 | 72 | 0
2023-09-10 | 18.8 | 0.8 | 74 | 0
2023-09-11 | 20.1 | 0.3 | 74 | 0
2023-09-12 | 20.3 | 0.8 | 73 | 0
2023-09-13 | 20.2 | 0.8 | 75 | 0
2023-09-14 | 18.8 | 0.8 | 80 | 3.5
2023-09-15 | 17.3 | 1.1 | 78 | 1.2
2023-09-16 | 18.7 | 0.3 | 78 | 0
2023-09-17 | 18.8 | 0.8 | 76 | 0
2023-09-18 | 19 | 1.1 | 82 | 0
2023-09-19 | 17.5 | 0.3 | 83 | 11.6
2023-09-20 | 18.5 | 0.6 | 81 | 10
2023-09-21 | 17.6 | 0.8 | 81 | 0.1
2023-09-22 | 18 | 0.9 | 82 | 3
2023-09-23 | 14.8 | 1.1 | 87 | 26.8
2023-09-24 | 12.2 | 0.6 | 86 | 11.7
2023-09-25 | 13.5 | 0.8 | 82 | 14.9
2023-09-26 | 17.3 | 0.8 | 78 | 0
2023-09-27 | 17.1 | 0.8 | 73 | 0
2023-09-28 | 16 | 1.5 | 74 | 0.1
2023-09-29 | 15.5 | 0.8 | 75 | 0
2023-09-30 | 15.8 | 0.3 | 81 | 0
2023-10-01 | 16.9 | 0.3 | 78 | 0
2023-10-02 | 17.2 | 0.3 | 81 | 0
2023-10-03 | 18.5 | 1.1 | 74 | 0.1
2023-10-04 | 14.7 | 1.1 | 81 | 0
2023-10-05 | 14.5 | 0.3 | 76 | 0
2023-10-06 | 13.5 | 0.3 | 75 | 0
2023-10-07 | 15.7 | 0.3 | 76 | 0
2023-10-08 | 16.9 | 1.1 | 78 | 0
2023-10-09 | 16.5 | 0.3 | 77 | 0
2023-10-10 | 15.9 | 0.6 | 82 | 0
n.d. - no data